## BOQ
02 | SITE WORKS | 2.01.A | Allow for the leveling, removal, and off-site disposal of all existing vegetation and loose materials, including but not limited to undergrowth, bushes, shrubs, debris, plants, etc., to the satisfaction of the Engineer. 1 Item 5,000.00 | 1 | ls | 5000
02 | SITE WORKS | 2.02.A | Excavate trial pits and trenches by hand, as specified and as necessary, to locate existing services within the plot area and, if applicable, outside and adjacent to the plot boundary, including backfilling, making good, and reinstatement to original condition upon completion. 1 Item 5,000.00 | 1 | ls | 5000
02 | SITE WORKS | 2.03.A | Excavation from the existing ground level till the bottom of the PCC as per the specifications, drawings and soil report subject to Engineer's approval. 9190 cu.m 18.00 | 1 | ls | 165420
02 | SITE WORKS | 2.03.B | Disposal of the excavated material and other waste material, as required, form the site as per the instruction of the local authorities. 9190 cu.m 18.00 | 1 | ls | 165420
02 | SITE WORKS | 2.03.D | Backfilling and compacting with imported material, as required, subject to specifications and Engineer's Approval 361.8 cu.m 25.00 | 1 | ls | 9045
02 | SITE WORKS | 2.04.A | Supply and apply anti-termite treatment to horizontal and vertical surfaces to form a continuous chemical barrier, including all related works, surface preparation, materials, and guarantees, complete in accordance with the drawings, project specifications, and to the satisfaction of the Engineer. 1 Item 10,000.00 | 1 | ls | 10000
02 | SITE WORKS | 2.05.A | Complete design, supply, installation, and operation of a dewatering system to keep all excavations free of water by any means necessary, including running costs at various platform levels, start-up, dismantling, removal, and demobilization upon completion, as per the Soil Investigation Report; the Contractor shall obtain all required Authority approvals and NOCs, and provide final clearance upon completion. 1 LS 275,000.00 | 1 | ls | 275000
02 | SITE WORKS | 2.06.B | Allow for full coordination with the Shoring Contractor during the insertion of concrete panels and throughout the removal stage of the shoring system, including all necessary adjustments, sequencing, and site interface requirements to ensure smooth execution of works. 1 Item 10,000.00 | 1 | ls | 10000
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.A | Raft | 1480 | cu.m | 1390
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.B | Water Tank Walls | 887 | cu.m | 1390
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.C | Retaining Walls | 144 | cu.m | 1640
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.D | Columns | 60 | cu.m | 1590
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.F | Core Walls | 100 | cu.m | 1590
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.G | Solid Slabs | 66 | cu.m | 1490
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.H | Attic Slab | 5 | cu.m | 1490
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.I | Ramp Slab | 44 | cu.m | 1490
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.J | PT Slab | 491 | cu.m | 1315
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.K | Beams | 23 | cu.m | 1490
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.L | Steps and Staircases | 8 | cu.m | 1340
03 | SUB-STRUCTURE CONCRETE WORKS | 3.02.M | Concrete Jacketing as per drawings | 1 | item | 6000
03 | SUB-STRUCTURE CONCRETE WORKS | 3.03.A | Light wight concrete fill | 81 | cu.m | 600
03 | SUB-STRUCTURE CONCRETE WORKS | 3.03.B | Allow for control, expansion, and isolation joints or the like as required, all in accordance with specifications and to the satisfaction of the Engineer. | 1 | Item | 8000
03 | SUB-STRUCTURE CONCRETE WORKS | 3.03.C | Concrete Bases for Equipment | 8 | cu.m | 1390
03 | SUB-STRUCTURE CONCRETE WORKS | 3.03.D | Allow for trenches, manhole, sump pit, gully trap, grease trap, pressure breaking manhole, SS room, lifting station, earth pits, sand traps etc including all MEP services and builders work in the substructure; complete as per drawings, specifications and to the approval of Engineer. 7 cu.m 1490 10,430.00 | 7 | cu.m | 1490
03 | SUB-STRUCTURE CONCRETE WORKS | 3.03.X | POST TENSION WORK | 1637 | M2 | 49
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.A | Columns | 433 | cu.m | 1640
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.C | Core Walls | 582 | cu.m | 1590
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.D | Solid Slabs | 94 | cu.m | 1515
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.F | PT Slabs | 2812 | cu.m | 1290
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.G | Beams | 180 | cu.m | 1590
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.H | Sections and Parapets | 42 | cu.m | 1490
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.I | Staircases | 117 | cu.m | 1590
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.J | Swimming Pool Slabs | 25 | cu.m | 1590
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.01.K | Swimming Pool Walls | 60 | cu.m | 1590
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.02.A | Carry out post-tensioning works through an authorized specialist subcontractor, including complete design, approval, supply and installation of tendons, sheathing, anchorages, stressing operations, high tensile wires, cement grout, labor, and all associated materials and processes. Works shall be executed in full compliance with project specifications, structural drawings, Engineer’s requirements, and local authorities’ approvals. Slab thicknesses indicated in the drawings are preliminary and shall be verified and confirmed by the post- tensioning subcontractor. 9,630 sq.m 49.00 | 1 | ls | 471870
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.03.A | Lintels, Copping Beams, and Stiffners including formwork & reinforcement | 43 | cu.m | 1240
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.03.B | Allow for forming decorative slab edge as per drawings. | 1 | Item | 201000
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.03.X | required as per drawings and specification | 1 | Item | 20000
04 | SUPER-STRUCTURE CONCRETE WORKS | 4.03.D | Concrete Bases for Equipments | 10 | cu.m | 1400
05 | MASONRY | 5.01.E | 400mm thick wall. sq.m INCLUDED 5.01.2 Internally A 100mm thick wall. 5114 sq.m 95.00 | 1 | ls | 485830
05 | MASONRY | 5.02.D | 200mm thick wall to Ducts & OTS sq.m INCLUDED E 200mm thick wall (60cm width × 120cm height) to behind WC 127.2 sq.m 160.00 | 1 | ls | 20352
06 | THERMAL AND MOISTURE PROTECTION | 6.01.B | Supply and apply a fully bonded waterproofing system from Sika® or approved equal, including all necessary accessories and protection as per project requirements, specifications, and to Engineer's approval. 2,760 sq.m 100.00 | 1 | ls | 276000
06 | THERMAL AND MOISTURE PROTECTION | 6.01.D | Supply and fix of HD PVC Water Stopper to Engineer's approval | 266 | m | 95
06 | THERMAL AND MOISTURE PROTECTION | 6.04.B | Ditto, but vertically to walls, 250mm high. | 1161 | m | 30
06 | THERMAL AND MOISTURE PROTECTION | 6.04.C | Cementitious waterproofing to bathtub and shower walls, 2200mm high | 234 | m | 176
06 | THERMAL AND MOISTURE PROTECTION | 6.04.D | Ditto, but to wash basin walls, 1500mm high | 108 | m | 120
06 | THERMAL AND MOISTURE PROTECTION | 6.04.E | Ditto, but to to WC walls, 1200mm high | 120 | m | 96
06 | THERMAL AND MOISTURE PROTECTION | 6.05.A | To all walls of basement and ground floors | 1000 | m | 10
06 | THERMAL AND MOISTURE PROTECTION | 6.05.B | To all walls of wet areas at typical floors | 1000 | m | 12
06 | THERMAL AND MOISTURE PROTECTION | 6.06.A | Supply and application of fire stopping and smoke seals, including all necessary surface preparation, protection works, and associated accessories; all complete in accordance with project specifications and DCD regulations. 1 LS 40,000.00 | 1 | ls | 40000
06 | THERMAL AND MOISTURE PROTECTION | 6.08.A | 4mm thick anti-root two layers waterproofing membrane tucked into a 20×20mm notch in concrete, and sealed with hot applied SBS sealant including primer and 8mm protection sheet and Aluminum flashing with sealant. 86 sq.m 100.00 | 1 | ls | 8560
06 | THERMAL AND MOISTURE PROTECTION | 6.10.A | Aggregate fill in rain water spouts | 1 | LS | 1000
06 | THERMAL AND MOISTURE PROTECTION | 6.10.B | Allow for treatment around RWO and drain outlets | 1 | LS | 2000
06 | THERMAL AND MOISTURE PROTECTION | 6.10.C | Allow for providing openings for service pipes, including necessary waterproofing membrane, mastic, sealant, and all associated works; complete to Engineer's approval. 1 LS 5,000.00 | 1 | ls | 5000
06 | THERMAL AND MOISTURE PROTECTION | 6.10.D | Cementitious Waterproofing to Euipement Foundations | 1 | LS | 2000
06 | THERMAL AND MOISTURE PROTECTION | 6.10.E | Allow for thermal insulation to concrete surfaces of air-conditioned and non-air- conditioned areas, complete as per drawings, project specifications, and relevant authorities’ regulations. 1 LS 15,000.00 | 1 | ls | 15000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.A | Type: (GD1), size - as per drawings | 14 | no. | 6727.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.B | Type: (GD2), size - as per drawings | 14 | no. | 6555
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.C | Type: (GD3), size - as per drawings | 7 | no. | 6468.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.D | Type: (GD4), size - as per drawings | 2 | no. | 6382.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.E | Type: (GD5), size - as per drawings | 7 | no. | 6296.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.F | Type: (GD5*), size - as per drawings | 1 | no. | 6296.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.G | Type: (GD6), size - as per drawings | 14 | no. | 6210
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.H | Type: (GD7), size - as per drawings | 14 | no. | 6123.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.I | Type: (GD8), size - as per drawings | 7 | no. | 6037.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.J | Type: (GD9), size - as per drawings | 1 | no. | 5951.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.K | Type: (GD10), size - as per drawings | 7 | no. | 5778.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.L | Type: (GD11), size - as per drawings | 14 | no. | 5606.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.M | Type: (GD12), size - as per drawings | 7 | no. | 5088.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.N | Type: (GD13), size - as per drawings | 1 | no. | 4226.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.O | Type: (GD14), size - as per drawings | 7 | no. | 2760
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.P | Type: (GD15), size - as per drawings | 3 | no. | 4485
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.Q | Type: (GD16), size - as per drawings | 1 | no. | 5232.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.R | Type: (GD17), size - as per drawings | 2 | no. | 4715
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.S | Type: (GD18), size - as per drawings | 3 | no. | 2932.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.A | Type: (GD19), size - as per drawings | 1 | no. | 19837.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.B | Type: (GD20), size - as per drawings | 7 | no. | 6641.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.C | Type: (AR01), size - as per drawings | 1 | no. | 29037.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.D | Type: (AR02), size - as per drawings | 1 | no. | 13512.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.01.E | Type: (AR03), size - as per drawings | 1 | no. | 6641.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.A | Type: (CW1), size - as per drawings | 12 | no. | 8308.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.B | Type: (CW2), size - as per drawings | 6 | no. | 8193.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.C | Type: (CW3), size - as per drawings | 6 | no. | 7733.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.D | Type: (CW4), size - as per drawings | 6 | no. | 5491.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.E | Type: (CW5), size - as per drawings | 6 | no. | 3622.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.F | Type: (CW6), size - as per drawings | 4 | no. | 5836.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.G | Type: (CW7), size - as per drawings | 1 | no. | 8596.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.H | Type: (CW8), size - as per drawings | 1 | no. | 9947.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.I | Type: (CW9), size - as per drawings | 1 | no. | 11500
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.J | Type: (CW10), size - as per drawings | 1 | no. | 10925
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.K | Type: (CW11), size - as per drawings | 1 | no. | 9315
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.02.L | Type: (CW12), size - as per drawings | 1 | no. | 14058.75
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.03.A | Type: (W1), size - as per drawings | 1 | no. | 891.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.03.B | Type: (W2), size - as per drawings | 7 | no. | 747.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.04.A | Type: (LW1), size - as per drawings | 1 | no. | 2300
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.04.B | Type: (LW2), size - as per drawings | 1 | no. | 3450
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.04.C | Type: (LD1), size - as per drawings | 1 | no. | 7187.5
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.04.D | Ventilation Window-1 to Pool Mech. Room , size - as per drawings | 1 | no. | 2000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.04.E | Ventilation Window-2 to Pool Mech. Room , size - as per drawings | 1 | no. | 2000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.05.A | Type: (ST1), size - as per drawings | 1 | no. | 4000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.05.B | Type: (ST3), size - as per drawings | 6 | no. | 3000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.05.C | Type: (ST5), size - as per drawings | 9 | no. | 2500
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.05.D | Type: (ST6), size - as per drawings | 1 | no. | 2500
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.06.A | To Balconies, height as per drawings | 758 | m | 903
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.06.B | To Swimming Pool Deck, height as per drawings | 31 | m | 903
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.06.C | To Staircases, height as per drawings | 215 | m | 431.25
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.A | Water and Air tight, dust-proof, heavy duty Stainless Steel access panel to water tank as per drawings and to Engineer's approval. 2 no. 1,000.00 | 1 | ls | 2000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.B | Heavy duty Aluminum access hatch to sump pit as per drawings and to Engineer's approval. 2 no. 1,000.00 | 1 | ls | 2000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.C | Supply and install GRP-coated steel ladder inside water tank, including vertical posts with grab bars welded to base plates and anchored, steel pipe rungs welded to posts, all as per drawings and subject to Engineer’s approval. 2 no. 2,500.00 | 1 | ls | 5000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.D | Ductile Cast Iron Channel Gratings, Class D400 | 36 | m | 400
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.E | Glavanized Steel Cat Ladder to roof as per drawings | 1 | no. | 3000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.F | Glavanized Steel Cat Ladder to Lift Pit | 1 | no. | 1000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.G | Glavanized Steel Cat Ladder to Lift Machine Room | 1 | no. | 2500
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.H | Glavanized Steel Cat Ladder to MEP shaft, as per drawings | 120 | m | 350
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.I | Galvanized Steel Service Platforms at MEP shafts on alternate floor levels, including framing, gratings, brackets, anchoring systems and all required supports. 22 sq.m 350.00 | 1 | ls | 7700
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.J | Covering to MEP Shafts on roof as per drawings | 1 | LS | 15000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.K | Glavanized steel covering to cables trenches. | 1 | LS | 20000
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.L | Chain link fence with lockable door to LPG tank. | 12 | m | 500
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.M | Supply and Installation of Inverted U-shaped crash barrier formed from 114mm diameter galvanized steel pipe with 4mm wall thickness, each unit 1500mm in length (center-to-center of legs), 1200mm in height above finished slab level, spaced at 100mm clear gap between units, including all required base plates, anchor bolts, bends, and fittings, hot-dip galvanized after fabrication, complete as per drawings, specifications, subject to local authorities' regulations and Engineer’s approval 29 no. 1,400.00 | 1 | ls | 40600
07 | ALUMINUM, GLASS, AND METAL WORKS | 7.11.N | Supply and Installation of Standing Bollards fabricated from Grade 316 stainless steel, brushed satin finish, minimum 114mm diameter and 3mm wall thickness, with semi-domed top, surface-mounted and anchored to RCC concrete surface using stainless steel base plate, anchor bolts, and cover flange; including drilling, chemical anchoring, anti-vibration pads, and all necessary accessories; complete as per drawings, and subject to the Engineer's approval. 22 no. 1,400.00 | 1 | ls | 30800
08 | CARPENTRY AND JOINERY | 8.01.A | Type: (D1), size - as per ID drawings, to: Flat Entrance | 98 | no. | 2860
08 | CARPENTRY AND JOINERY | 8.01.B | Type: (D2), size - as per ID drawings, to: Bed Room | 42 | no. | 1430
08 | CARPENTRY AND JOINERY | 8.01.C | Type: (D3), size - as per ID drawings, to: Bath | 98 | no. | 1430
08 | CARPENTRY AND JOINERY | 8.01.D | Type: (D3A), size - as per ID drawings, to: Powder Room | 21 | no. | 1430
08 | CARPENTRY AND JOINERY | 8.01.E | Type: (D4), size - as per ID drawings, to: Laundry & Storage | 35 | no. | 1430
08 | CARPENTRY AND JOINERY | 8.01.F | Type: (D6), size - as per Arch. drawings, to: Service Rooms | 39 | no. | 1980
08 | CARPENTRY AND JOINERY | 8.01.G | Type: (D6*), size - as per Arch. drawings, to: Pool Mehcanical Area | 1 | no. | 1980
08 | CARPENTRY AND JOINERY | 8.01.H | Type: (D7), size - as per Arch. drawings, to: CCTV & Wathcman Room | 2 | no. | 1980
08 | CARPENTRY AND JOINERY | 8.01.I | Type: (D8), size - as per Arch. drawings, to: Bath of Wathcman Room | 1 | no. | 1430
08 | CARPENTRY AND JOINERY | 8.01.J | Type: (D9), size - as per Arch. drawings, to: Staricase at Typical Floors | 16 | no. | 2200
08 | CARPENTRY AND JOINERY | 8.01.K | Type: (D101), size - as per ID drawings, to: Entrance Lobby | 1 | no. | 3300
08 | CARPENTRY AND JOINERY | 8.01.L | Type: (D103), size - as per ID drawings, to: Golf Simulator | 1 | no. | 1980
08 | CARPENTRY AND JOINERY | 8.01.M | Type: (D104), size - as per ID drawings, to: Changing Room | 2 | no. | 1980
08 | CARPENTRY AND JOINERY | 8.01.N | Type: (D105), size - as per ID drawings, to: Changing Room | 6 | no. | 1430
08 | CARPENTRY AND JOINERY | 8.02.X | and Roof | 5 | no. | 250
08 | CARPENTRY AND JOINERY | 8.02.C | Door Closer to Staricase Doors | 16 | no. | 250
09 | FINISHES | 9.01.A | 15mm Thick Cement Sand Plaster to internal surfaces of all block walls and reinforced concrete surfaces, applied up to full height of walls. The plaster shall be finished smooth and true, suitable to receive paint or wallpaper finishes, all in accordance with the drawings, specifications, and the Engineer's approval. 22,183 sq.m 39.00 | 1 | ls | 865117.5
09 | FINISHES | 9.01.B | 15mm Thick Cement Sand Plaster to internal surfaces of all block walls and reinforced concrete surfaces, applied up to the full height of walls. Plaster shall be finished to provide a suitable key for tile fixing, all in accordance with the drawings, specifications, and the Engineer's approval. 4,745 sq.m 35.00 | 1 | ls | 166075
09 | FINISHES | 9.01.C | 20mm Thick Cement Sand Plaster to external surfaces of all block walls, reinforced concrete surfaces, and parapet walls, including formation of aluminium grooves as required. The plaster shall be finished with surface suitable to receive external paint, all in accordance with the drawings, specifications, and to the Engineer's approval. 4000 sq.m 45.00 | 1 | ls | 180000
09 | FINISHES | 9.01.D | Spray Plaster Base Coat to internal walls of lift shaft, for leveling and surface correction. Finish to be left exposed with neat and uniform appearance, complete as per drawings, specifications, and Engineer’s approval. 292 sq.m 22.00 | 1 | ls | 6424
09 | FINISHES | 9.01.E | Spray Plaster Base Coat to ceilings not receiving suspended ceiling systems, for leveling and surface correction. Finish to be suitable for subsequent paint application, complete as per drawings, specifications, and Engineer’s approval. 5,058 sq.m 22.00 | 1 | ls | 111276
09 | FINISHES | 9.02.A | Supply and Application of Two Coats Epoxy Floor Coating over 75mm thick screed. Includes surface preparation, priming, and application of epoxy coating as per manufacturer’s instructions, drawings, specifications, and to Engineer’s approval. 145 sq.m 85.00 | 1 | ls | 12325
09 | FINISHES | 9.02.B | Supply and Application of Polyurethane-Based Traffic Floor Coating, hard- wearing, skid-resistant, and flexible type, suitable for vehicular traffic areas. Includes surface preparation, priming, and application of multi-layer system as per manufacturer’s instructions, drawings, specifications, and to Engineer’s approval. 4,137 sq.m 42.00 | 1 | ls | 173754
09 | FINISHES | 9.02.D | Terrazzo Tread and Riser to Internal Staircases | 741 | m | 100
09 | FINISHES | 9.02.F | Ceramic Tiles - LV Room, Telephone Rooms, CCTV Room, Garbage Rooms, Watchman Room, Watchman Bathroom, Water Meters Rooms, Electrical Rooms, Service Corridors, GSM Room, FHC, Swimming Pool Mechanical Area 9.01 (Allow for PC Supply rate of AED 30 / sq.m) 400 sq.m 100.00 | 1 | ls | 40000
09 | FINISHES | 9.02.G | Porcelain Tiles 60×120cm - Lift Lobby (Basement, Poduim, Typical, and Roof Floors) 9.01 (Allow for PC Supply rate of AED 40 / sq.m) 579 110.00 | 1 | ls | 63690
09 | FINISHES | 9.02.H | Porcelain Tiles 60×120cm sq.m - Studio, Bedroom, Living, Kitchen, Dining, Pantry, Bath, WC, Store, Laundry, Wash, Changing Room, and Lockers 9.01 (Allow for PC Supply rate of AED 40 / sq.m) 4,196 110.00 | 1 | ls | 461560
09 | FINISHES | 9.02.I | Porcelain Tiles 20×120cm sq.m - Private Terrace 9.01 (Allow for PC Supply rate of AED 40 / sq.m) 1,091 110.00 | 1 | ls | 120010
09 | FINISHES | 9.03.A | Terrazzo Skirting 100mm high | 382.78 | m | 35
09 | FINISHES | 9.03.B | Ceramic Skirtings 100mm high m - LV Room, Telephone Rooms, CCTV Room, Watchman Room, Water Meters Rooms, Electrical Rooms, Service Corridors, GSM Room, FHC, Swimming Pool Mechanical Area 9.01 (Allow for PC Supply rate of AED 8 / m) 500 23.00 | 1 | ls | 11500
09 | FINISHES | 9.03.C | Porcelain 100mm high m - Lift Lobby (Basement, Poduim, Typical, and Roof Floors) 9.01 (Allow for PC Supply rate of AED 10 / m) 141 25.00 | 1 | ls | 3525
09 | FINISHES | 9.03.D | Porcelain 100mm high m - Studio, Bedroom, Living, Kitchen, Dining, Pantry, Bath, WC, Store, Laundry, and Lockers 9.01 (Allow for PC Supply rate of AED 10 / m) 4,423 25.00 | 1 | ls | 110575
09 | FINISHES | 9.03.E | Porcelain 100mm high m - Private Terrace 9.01 (Allow for PC Supply rate of AED 10 / m) 1,546 25.00 | 1 | ls | 38650
09 | FINISHES | 9.04.A | To Flat Entrance Door, Service and Utilities Rooms, Staicases, etc. m 9.01 (Allow for PC Supply rate of AED 100 / m) 180 115.00 | 1 | ls | 20700
09 | FINISHES | 9.04.B | To Flat Internal Doors m 9.01 (Allow for PC Supply rate of AED 20 / m) 167 35.00 | 1 | ls | 5845
09 | FINISHES | 9.05.A | Supply and Application of Acrylic Epoxy Paint, including surface preparation, priming, and application of two top coats. Finish to be smooth, durable, and in accordance with drawings, specifications, and Engineer’s approval. 2,314 sq.m 45.00 | 1 | ls | 104130
09 | FINISHES | 9.05.B | Supply and Application of Anti-Carbonation Paint, including surface preparation, priming, and two top coats, complete as per drawings, specifications, and Engineer’s approval. 2,267 sq.m 30.00 | 1 | ls | 68002.5
09 | FINISHES | 9.05.C | Supply and Application of Fenomastic Emulsion Paint System, including surface preparation, application of one coat of PVA Primer, two coats of Stucco filler, and two top coats of Fenomastic Emulsion Paint. Finish to be smooth, durable, and in accordance with drawings, specifications, and Engineer’s approval. 14,177 sq.m 20.00 | 1 | ls | 283535
09 | FINISHES | 9.05.D | Supply and Application of one coat of PVA Primer to backside of kitchen and Pantry Cabinets and Wardrobes. 1506.4 sq.m 15.00 | 1 | ls | 22596
09 | FINISHES | 9.05.E | Supply and Application of one coat of Acrylic Primer to Mechanical Shafts and OTS. 2491 sq.m 15.00 | 1 | ls | 37365
09 | FINISHES | 9.05.H | Supply and Application of External Paint Jotashield System, including surface preparation, application of one coat of Acrylic Primer, and two Jotashield coats, color as per drawings. Finish to be smooth, durable, and in accordance with drawings, specifications, and Engineer’s approval. 2911 sq.m 45.00 | 1 | ls | 130995
09 | FINISHES | 9.05.I | Ceramic Tiles sq.m - Garbage Rooms, and Watchman Bathroom 9.01 (Allow for PC Supply rate of AED 30 / sq.m) 554 100.00 | 1 | ls | 55400
09 | FINISHES | 9.05.J | Porcelain Tiles 60×120cm sq.m - Bath, WC, Wash, and Changing Room 9.01 (Allow for PC Supply rate of AED 40 / sq.m) 4,191 110.00 | 1 | ls | 461010
09 | FINISHES | 9.05.K | To Lift Lobby, as specified in ID drawings sq.m 9.01 (Allow for PC Supply and Installation rate of AED 200 / sq.m) 287 270.00 | 1 | ls | 77490
09 | FINISHES | 9.06.D | Ceiling Finishes to Gym 120 sq.m PS Painted Finish E Anti-Carbonation Paint. 4,137 sq.m 35.00 | 1 | ls | 144795
16 | SPECIAL CONSTRUCTION | 16.03.A | Apply lining epoxy paints for all traffic floor signs including car parking boundaries, numbers, arrows, POD, directional markings, etc., complete as per drawings, specifications, and subject to Engineer's approval. 1 Item 10,000.00 | 1 | ls | 10000
16 | SPECIAL CONSTRUCTION | 16.03.B | Supply and fix car wheel stoppers, heavy-duty rubber type with anchor bolts, complete as per specifications, and subject to Engineer's approval. 100 No. 100.00 | 1 | ls | 10000
16 | SPECIAL CONSTRUCTION | 16.03.C | Supply and fix speed humps at car parking areas, including reflective paint and anchor fixings, complete as per specifications, and subject to Engineer's approval. 28 rm 250.00 | 1 | ls | 7000
16 | SPECIAL CONSTRUCTION | 16.03.D | Supply and fix convex mirrors at car parking areas for improved visibility and safety, including mounting brackets and supports. 10 No. 200.00 | 1 | ls | 2000
16 | SPECIAL CONSTRUCTION | 16.03.E | Supply and fix 1200mm high corner rubber guards, to protect edges and corners in parking areas, complete with all necessary fixings, as per specifications, and subject to Engineer's approval. 306 No. 100.00 | 1 | ls | 30600
16 | SPECIAL CONSTRUCTION | 16.03.F | Supply and installation of heavy-duty rubber wall guards fixed along parking walls and ramp driveways, including all necessary anchors, adhesives, and fixing accessories, complete in accordance with specifications and drawings, and subject to Engineer’s approval. 181 m 100.00 | 1 | ls | 18100
16 | SPECIAL CONSTRUCTION | 16.03.G | Supply and fix wall guards for Garbage Room, including all necessary accessories and mounting hardware. 19 m 250.00 | 1 | ls | 4750
16 | SPECIAL CONSTRUCTION | 16.04.A | Supply and installation of heavy-duty metal cycle rack, fabricated from mild steel, floor-mounted type, finished with two coats of synthetic enamel paint over approved anti-corrosive primer, including all necessary accessories, anchor bolts, base plates, and complete fixing works, all in accordance with drawings and subject to Engineer’s approval. 7 No. 750.00 | 1 | ls | 5250
16 | SPECIAL CONSTRUCTION | 16.05.A | Allow for 5% of all finishing tiles to be delivered to the Client. | 1 | LS | 28740
16 | SPECIAL CONSTRUCTION | 16.05.B | Allow Manhole keys to be delivered to the Client. | 1 | LS | 2000
16 | SPECIAL CONSTRUCTION | 16.06.A | Fabrication, Supply, and Erection of Structural Steel Framing with Cement Board Cladding (or equivalent approved), to Feature Podium Wall, complete with all necessary brackets, fixings, anchors, surface treatment, and obtaining Authority Approvals if required; all in accordance with approved shop drawings, and to the satisfaction of the Engineer. 1 LS 50,000.00 | 1 | ls | 50000
17 | EXTERNAL WORKS AND LANDSCAPE | 17.01.A | Construct boundary wall as shown in the drawings including but not limited to RCC columns and beams, block work, plaster, paint, all complete in accordance with drawings, specifications, and subject to Engineer's approval. 133 m 450.00 | 1 | ls | 59850
17 | EXTERNAL WORKS AND LANDSCAPE | 17.02.A | Supply and installation of 60mm thick interlocking concrete pavers for footpaths and walkways outside the plot boundary, including bedding sand and road base, edge restraints, compaction, and all necessary works complete in accordance with project specifications, local authorties' regulations, and to the Engineer's approval. 87 sq.m 85.00 | 1 | ls | 7395
17 | EXTERNAL WORKS AND LANDSCAPE | 17.02.B | Supply and installation of 80mm thick interlocking concrete pavers for footpaths and walkways outside the plot boundary, including bedding sand and road base, edge restraints, compaction, and all necessary works complete in accordance with project specifications, local authorties' regulations, and to the Engineer's approval. 214 sq.m 85.00 | 1 | ls | 18190
17 | EXTERNAL WORKS AND LANDSCAPE | 17.02.C | Supply and installation of precast concrete curbstone outside the plot boundary, including including concrete beds, all necessary excavation, back-filling, concrete hunching and expansion joints including flex cell boards, sealants, alignment, mortar backing, jointing, and all necessary works complete in accordance with approval. 158 m 85.00 | 1 | ls | 13430
18 | PROVISIONAL SUM ITEMS | 18.01.A | Allow a provisional sum of AED 250,000 for Supply and Installation of Main Entrance Lobby Internal Fit-out Works in accordance with ID drawings and specifications and subject to Engineer's approval. The provisional sum excludes plaster works, flooring screed, and MEP works, all of which shall be carried out under the Main Contractor’s scope. | 1 | PS | 250000
18 | PROVISIONAL SUM ITEMS | 18.01.B | Add for overheads and profit (10%) | 10 | % | 2500
18 | PROVISIONAL SUM ITEMS | 18.01.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 5000
18 | PROVISIONAL SUM ITEMS | 18.02.A | Allow a provisional sum of AED 300,000 for Supply and Installation of Roof Utilities (Gym, Club-House, Yoga, Golf Simulator) Internal Fit-out Works in accordance with ID drawings and specifications and subject to Engineer's approval. The provisional sum excludes plaster works, flooring screed, and MEP works, all of which shall be carried out under the Main Contractor’s scope. | 1 | PS | 300000
18 | PROVISIONAL SUM ITEMS | 18.02.B | Add for overheads and profit (8%) | 8 | % | 3000
18 | PROVISIONAL SUM ITEMS | 18.02.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 6000
18 | PROVISIONAL SUM ITEMS | 18.03.A | Allow a Provisional Sum of AED 300,000 for the supply, installation, testing, and commissioning of two (2) Passenger Elevators serving Basement to Roof levels (11 stops), complete with all necessary fixing accessories, safety devices, control systems, electrical works, elevator cars, push buttons and indicators, car and landing sills, and internal car finishes including flooring, wall cladding, ceiling, and lighting; all in accordance with project specifications and subject to Engineer’s review and approval. Works to be executed by the nominated Sub- Contractor. | 1 | PS | 300000
18 | PROVISIONAL SUM ITEMS | 18.03.B | Add for overheads and profit (10%) | 10 | % | 3000
18 | PROVISIONAL SUM ITEMS | 18.03.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 6000
18 | PROVISIONAL SUM ITEMS | 18.04.A | Allow a Provisional Sum of AED 30,000 for the Supply, Installation, Testing, and Commissioning of 1 No. Outdoor Wheelchair Lift with Guide Rail System, suitable for exterior use with weather-resistant materials, complete with platform, stainless steel guide rails, safety interlocks, weatherproof control system, electrical wiring, push buttons, indicators, structural supports, and all necessary fixing accessories, in full compliance with DDA (Disability Discrimination Act) standards, and local authority requirements. Works shall be executed by a nominated specialist Sub-Contractor and subject to the Engineer’s approval. | 1 | PS | 30000
18 | PROVISIONAL SUM ITEMS | 18.04.B | Add for overheads and profit (8%) | 8 | % | 300
18 | PROVISIONAL SUM ITEMS | 18.04.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 600
18 | PROVISIONAL SUM ITEMS | 18.05.A | Allow a provisional sum of AED 50,000 for Supply Only of Light Fixtures, (fixing to be included separately in MEP Bills), complete as per drawings and subject to Client and Engineer' approval. | 1 | PS | 50000
18 | PROVISIONAL SUM ITEMS | 18.05.B | Add for attendance, handling, and strorage. | 1 | ls | 2000
18 | PROVISIONAL SUM ITEMS | 18.06.A | Allow a Provisional Sum of AED 100,000 for the Supply, Installation, Testing, and Commissioning of Façade Lighting System, complete with all required LED fixtures, drivers, conduits, control modules, wiring, supports, and accessories, in full accordance with the façade elevation design, lighting layout and to the satisfaction of the Owner and Engineer. Works shall be executed by a nominated specialist and subject to the Engineer’s approval. | 1 | PS | 100000
18 | PROVISIONAL SUM ITEMS | 18.06.B | Add for overheads and profit (8%) | 8 | % | 1000
18 | PROVISIONAL SUM ITEMS | 18.06.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 2000
18 | PROVISIONAL SUM ITEMS | 18.07.A | Allow a Provisional Sum of AED 50,000 for Supply Only of Wiring Accessories, in addition to Emergency Gas On/Off Switches, 12U Cabinets for Apartments, Single RJ45 Sockets for Voice, and Dual RJ45 Sockets for Voice/Data. Fixing to be included separately under MEP Bills. All complete as per ID drawings and subject to Client and Engineer’s approval. | 1 | PS | 50000
18 | PROVISIONAL SUM ITEMS | 18.07.B | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 1000
18 | PROVISIONAL SUM ITEMS | 18.08.A | Allow a provisional sum of AED 575,000 for Supply Only of Sanitary Wares and Accessories, (fixing of sanitary ware to be included separately in MEP Bills, complete as per drawings and subject to Client and Engineer' approval. | 1 | PS | 575000
18 | PROVISIONAL SUM ITEMS | 18.08.B | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 23000
18 | PROVISIONAL SUM ITEMS | 18.09.A | Allow a Provisional Sum of AED 50,000 for the Supply and Installation of Wash Basin Mirrors, including all necessary supports, fixing accessories, edge treatment, and backing as required, complete in accordance with ID drawings, specifications, and subject to Client and Engineer’s approval. | 1 | PS | 50000
18 | PROVISIONAL SUM ITEMS | 18.09.B | Add for overheads and profit (8%) | 8 | % | 500
18 | PROVISIONAL SUM ITEMS | 18.09.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 1000
18 | PROVISIONAL SUM ITEMS | 18.10.A | Allow a Provisional Sum of AED 375,000 for the Supply and Installation of Gypsum Suspended False Ceiling, including all necessary hangers, frames, perimeter shadow groove, supports, joint taping, access panels, and all related accessories, excluding painting works, complete in accordance with ID drawings, specifications and subject to Engineer’s approval. | 1 | PS | 375000
18 | PROVISIONAL SUM ITEMS | 18.10.B | Add for overheads and profit (10%) | 10 | % | 3750
18 | PROVISIONAL SUM ITEMS | 18.10.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 7500
18 | PROVISIONAL SUM ITEMS | 18.11.A | Allow a Provisional Sum of AED 280,000 for the Supply and Installation of Swimming Pool Works including gunite, waterproofing, finishes, equipment, grating, stainless steel ladders, all MEP works and, etc. excluding structural concrete, all as per specifications and Engineer’s approval. | 1 | PS | 280000
18 | PROVISIONAL SUM ITEMS | 18.11.B | Add for overheads and profit (10%) | 10 | % | 2800
18 | PROVISIONAL SUM ITEMS | 18.11.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 5600
18 | PROVISIONAL SUM ITEMS | 18.12.A | Allow a Provisional Sum of AED 200,000 for the Supply and Installation of Private Plunge Pools Works including gunite, waterproofing, finishes, equipment, grating, stainless steel ladders, all MEP works and, etc. excluding structural concrete, all as per specifications and Engineer’s approval. | 1 | PS | 200000
18 | PROVISIONAL SUM ITEMS | 18.12.B | Add for overheads and profit (10%) | 10 | % | 2000
18 | PROVISIONAL SUM ITEMS | 18.12.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 4000
18 | PROVISIONAL SUM ITEMS | 18.13.A | Allow a Provisional Sum of AED 200,000 for the Supply and Installation of Landscape Works including related waterpprofing, soft and hard landscape finishes, all MEP related works, all in accordance with ID drawings, specifications and subject to Engineer’s approval. | 1 | PS | 200000
18 | PROVISIONAL SUM ITEMS | 18.13.B | Add for overheads and profit (10%) | 10 | % | 2000
18 | PROVISIONAL SUM ITEMS | 18.13.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 4000
18 | PROVISIONAL SUM ITEMS | 18.14.A | Allow a Provisional Sum of AED 75,000 for the Supply and Installation of GRC Profiles to Elevations, including all associated structural steel framing, supports, fixings, accessories, local authorities' approval, complete as per approved shop drawings, specifications, and Engineer’s approval. | 1 | PS | 75000
18 | PROVISIONAL SUM ITEMS | 18.14.B | Add for overheads and profit (10%) | 10 | % | 750
18 | PROVISIONAL SUM ITEMS | 18.14.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 1500
18 | PROVISIONAL SUM ITEMS | 18.15.A | Allow a Provisional Sum of AED 100,000 for the Supply and Installation of Signage Works for Flat Numbering, Corridors, Services, and Utility Areas, complete with all accessories, finishes, and fixing supports, and subject to Client and Engineer’s approval. | 1 | PS | 100000
18 | PROVISIONAL SUM ITEMS | 18.15.B | Add for overheads and profit (5%) | 5 | % | 1000
18 | PROVISIONAL SUM ITEMS | 18.15.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 2000
18 | PROVISIONAL SUM ITEMS | 18.16.A | Allow a Provisional Sum of AED 500,000 for the Design, Supply, and Erection of Roof Canopy, including all associated structural steel framing, roof sheets, supports, fixings, accessories, and local authority approvals, complete in accordance with local authorities' requirements, and subject to the Engineer’s approval. | 1 | PS | 500000
18 | PROVISIONAL SUM ITEMS | 18.16.B | Add for overheads and profit (10%) | 10 | % | 5000
18 | PROVISIONAL SUM ITEMS | 18.16.C | Add for attendance, builder's work, coordination, handling, strorage, etc. | 1 | ls | 10000
18 | PROVISIONAL SUM ITEMS | 18.17.A | Allow a provisional sum of Dirhams 120,000 for Supply, Installation testing, and commissioning of CCTV System complete as per drawings, local authorities's regulations, and subject to the Engineer’s approval. | 1 | PS | 120000
18 | PROVISIONAL SUM ITEMS | 18.17.B | Add for overheads and profit (10%) | 10 | % | 1200
18 | PROVISIONAL SUM ITEMS | 18.17.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 2400
18 | PROVISIONAL SUM ITEMS | 18.18.A | Allow a Provisional Sum of AED 300,000 for the Supply, Installation, Testing, and Commissioning of a Home Automation System, including all required devices, wiring, programming, and integration works, and subject to the Client and Engineer’s approval. | 1 | PS | 300000
18 | PROVISIONAL SUM ITEMS | 18.18.B | Add for overheads and profit (10%) | 10 | % | 3000
18 | PROVISIONAL SUM ITEMS | 18.18.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 6000
18 | PROVISIONAL SUM ITEMS | 18.19.A | Allow a Provisional Sum of AED 30,000 for the Supply, Installation, Testing, and Commissioning of an Intercom System, complete with all necessary devices, wiring, accessories, and terminations, in accordance with specifications and subject to the Engineer’s approval. | 1 | PS | 30000
18 | PROVISIONAL SUM ITEMS | 18.19.B | Add for overheads and profit (10%) | 10 | % | 300
18 | PROVISIONAL SUM ITEMS | 18.19.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 600
18 | PROVISIONAL SUM ITEMS | 18.20.A | Allow a Provisional Sum of AED 80,000 for the Supply, Installation, Testing, and Commissioning of the Access Control and Automatic Gate Barrier Systems, including door access readers, access cards, controllers, cabling, power supplies, programming, integration works, and all required accessories, as well as motorized boom barriers, control panels/gate operators, long-range card readers, push button controls, loop detectors, sensors, wiring, and all necessary components, complete in accordance with drawings, specifications, and subject to the Engineer’s approval. | 1 | PS | 80000
18 | PROVISIONAL SUM ITEMS | 18.20.B | Add for overheads and profit (10%) | 10 | % | 800
18 | PROVISIONAL SUM ITEMS | 18.20.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 1600
18 | PROVISIONAL SUM ITEMS | 18.21.A | Allow a Provisional Sum of AED 80,000 for the Supply and Installation of Garbage Chute System and Garbage Trolleys, complete as per project specifications and authority requirements. | 1 | PS | 80000
18 | PROVISIONAL SUM ITEMS | 18.21.B | Add for overheads and profit (10%) | 10 | % | 800
18 | PROVISIONAL SUM ITEMS | 18.21.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 1600
18 | PROVISIONAL SUM ITEMS | 18.22.A | Allow a Provisional Sum of AED 480,000 for the Supply, Installation, Testing, and Commissioning of Kitchen Appliances, complete in accordance with ID drawings and specifications. | 1 | PS | 480000
18 | PROVISIONAL SUM ITEMS | 18.22.B | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 24000
18 | PROVISIONAL SUM ITEMS | 18.23.A | Allow a Provisional Sum of AED 200,000 for the Supply and Installation of Gym Equipement, complete in accordance with ID drawings and specifications. | 1 | PS | 200000
18 | PROVISIONAL SUM ITEMS | 18.23.B | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 10000
18 | PROVISIONAL SUM ITEMS | 18.24.A | Allow a Provisional Sum of AED 90,000 for the Supply Only of Ironmongery for Wooden Doors, complete in accordance with ID drawings, specifications, and subject to Engineer’s approval. Fixing charges to be included in the door installation rates as covered under Bill No. 08 | 1 | PS | 90000
18 | PROVISIONAL SUM ITEMS | 18.24.B | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 4500
18 | PROVISIONAL SUM ITEMS | 18.25.A | Allow a Provisional Sum of AED 25,000 for the Supply and Installation of External Signage, complete in accordance with Engineer’s instructions. | 1 | PS | 25000
18 | PROVISIONAL SUM ITEMS | 18.25.B | Add for overheads and profit (8%) | 8 | % | 250
18 | PROVISIONAL SUM ITEMS | 18.25.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 500
18 | PROVISIONAL SUM ITEMS | 18.26.A | Allow a Provisional Sum of AED 50,000 for the Supply and Installation of Sauna and Cold Plunge Rooms, complete with all equipment, finishes, MEP connections, complete in accordance with project specifications and Engineer’s instructions. | 1 | PS | 50000
18 | PROVISIONAL SUM ITEMS | 18.26.B | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 2500
18 | PROVISIONAL SUM ITEMS | 18.27.A | Allow a Provisional Sum of AED 290,000 for the Supply and Installation of Kitchen Countertop and Backsplash, including cutting, edge profiling, fixing accessories, adhesive, sealant, and all necessary supports; complete as per ID drawings, specifications, and subject to Engineer’s approval. | 1 | PS | 290000
18 | PROVISIONAL SUM ITEMS | 18.27.B | Add for overheads and profit (5%) | 5 | % | 2900
18 | PROVISIONAL SUM ITEMS | 18.27.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 5800
18 | PROVISIONAL SUM ITEMS | 18.28.A | Allow a Provisional Sum of AED 105,000 for the Supply and Installation of Vanity Counters, including solid surface countertop works, internal framing, joinery/wood works, drawers, handles/hangers, and routing provisions for integrated LED lighting; all complete in accordance with ID drawings, specifications, and subject to the Engineer’s approval. | 1 | PS | 105000
18 | PROVISIONAL SUM ITEMS | 18.28.B | Add for overheads and profit (5%) | 5 | % | 1050
18 | PROVISIONAL SUM ITEMS | 18.28.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 2100
18 | PROVISIONAL SUM ITEMS | 18.29.A | Allow a Provisional Sum of AED 540,000 for the Supply and Installation of MDF Kitchen Cabinets, comprising base units, full-height (up-to-ceiling) wall units, tall units, drawers with heavy-duty soft-close hinges and runners, handles, internal fittings, and necessary accessories. Excludes countertop, backsplash, and kitchen appliances (white goods). All works shall be carried out complete as per ID drawings, specifications, and the Engineer's approval. | 1 | PS | 540000
18 | PROVISIONAL SUM ITEMS | 18.29.B | Add for overheads and profit (10%) | 10 | % | 5400
18 | PROVISIONAL SUM ITEMS | 18.29.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 10800
18 | PROVISIONAL SUM ITEMS | 18.30.A | Allow a Provisional Sum of AED 390,000 for the Supply and Installation of MDF Wardrobes, including but not limited to: carcases, spacers, glass and/or MDF shutters with edge lipping on all exposed edges, hanger rods, drawer units, and shelves. All wardrobes shall be full height (up to ceiling), fabricated and installed complete as per ID drawings, specifications, and to the Engineer's approval. | 1 | PS | 390000
18 | PROVISIONAL SUM ITEMS | 18.30.B | Add for overheads and profit (10%) | 10 | % | 3900
18 | PROVISIONAL SUM ITEMS | 18.30.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 7800
18 | PROVISIONAL SUM ITEMS | 18.31.A | Allow a Provisional Sum of AED 75,000 for the Supply and Installation of MDF Back-to-Wall WC Storage Cabinets above water closets, including carcass, doors, shelving, edge lipping on all exposed edges, hinges, handles, and all required accessories; all works complete as per ID drawings, specifications, and subject to the Engineer’s approval. | 1 | PS | 75000
18 | PROVISIONAL SUM ITEMS | 18.31.B | Add for overheads and profit (10%) | 10 | % | 750
18 | PROVISIONAL SUM ITEMS | 18.31.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 1500
18 | PROVISIONAL SUM ITEMS | 18.32.A | Allow a Provisional Sum of AED 40,000 for the Supply and Installation of Stone Cladding to Flat Signage Feature Panels using approved stone adhesive, including all necessary surface preparation, positioning, alignment, and associated fixing accessories; together with the Supply and Installation of a fully integrated concealed LED lighting system comprising conduits, cabling, drivers, terminations, and power connections; all complete with testing, commissioning, and in full compliance with ID drawings, project specifications, and subject to Engineer’s review and approval. | 1 | PS | 40000
18 | PROVISIONAL SUM ITEMS | 18.32.B | Add for overheads and profit (10%) | 10 | % | 400
18 | PROVISIONAL SUM ITEMS | 18.32.C | Add for Builder' work, attendance, handling, and strorage. | 1 | ls | 800
10 | PLUMBING WORKS | 10-001 | Lump Sum — PLUMBING WORKS | 1 | ls | 1725000
11 | HVAC WORKS | 11-001 | Lump Sum — HVAC WORKS | 1 | ls | 3500000
12 | ELECTRICAL WORKS | 12-001 | Lump Sum — ELECTRICAL WORKS | 1 | ls | 2130000
14 | FIREFIGHTING, FIREALARM, EMERGENCYLIGHT & VOICE EVACUATION WORKS | 14-001 | Lump Sum — FIREFIGHTING, FIREALARM, EMERGENCYLIGHT & VOICE EVACUATION WORKS | 1 | ls | 1800000
01 | PRELIMINARIES AND GENERAL REQUIREMENTS | 01-001 | Lump Sum — PRELIMINARIES AND GENERAL REQUIREMENTS | 1 | ls | 1580000
13 | LOW CURRENT WORKS | 13-001 | Lump Sum — LOW CURRENT WORKS | 1 | ls | 0
15 | CONVEYING SYSTEM | 15-001 | Lump Sum — CONVEYING SYSTEM | 1 | ls | 0